1. Purpose

This session was held as part of Work Package 1 – Requirements Definition of the PENTION project.
The goal was to collect insights, operational challenges, and practical needs from the Dutch Police to refine the ongoing requirements analysis for PENTION.
The meeting followed the “Requirements Elicitation Workshop – LEAs” structure and presentation previously prepared for this purpose.

2. Opening and Context

We clarified that the meeting’s purpose was to brainstorm and exchange views, not to conduct a technical review.
The discussion focused on identifying what law enforcement officers expect and need from the system, in order to ensure the final solution aligns with real operational contexts.

PENTION was briefly introduced again as a mobile-lab concept (“Ghostbusters van”), combining software (AI-based signal analysis) and hardware (sensors, detection units).
The focus was on both software, hardware, and procedural requirements, especially concerning inter-agency collaboration.
We structured the discussion around nine key topics:

- Operational challenges

- Portability

- Detection accuracy

- AI assistance

- Explainability

- Substances & precursors

- Operational context

- Evidence & data handling

- User interaction & feedback

3. Previous Questionnaires

Leonie asked whether other LEAs were also involved in this session.
We clarified that this workshop was dedicated to the Dutch Police, while other LEAs had already been queried via questionnaires.

Jos confirmed that he had already completed two questionnaires (on 6 and 13 October 2025) covering:

- Operational challenges

- Substances and precursors

These inputs were sent to Damian and Daouiz earlier in October.
However, this information hadn’t been circulated to us before the workshop.
As a result, we agreed to skip topics already covered in the surveys (operational challenges and substances/precursors) and focus instead on the remaining aspects.

4. Portability and System Configurations

Marco (RIEC) raised an important point: in earlier stages, the requirements mentioned a handheld device, yet the discussion had since shifted to a van-based system.
He questioned whether the handheld concept was dropped too soon, as it might still have practical value.

Leonie clarified that the current understanding was a combination of:

- a portable sampler (hand-operated for air intake), and

- a stationary analysis unit (installed in or near the van).

Jos added that two configurations are now being discussed:

- PENTION-S (Stationary)

- PENTION-M (Mobile)
and that MION is already assessing power consumption and technical specifications for the mobile setup.

We all noted that while mobility is a key asset, cost and feasibility must also be considered.
It was therefore agreed that economic feasibility should be treated as an additional requirement category (i.e. “business case” or “cost implication”).

5. Use Cases and Focus

Jos reminded us that the Dutch Police had already defined three operational use cases in the questionnaires:

- Air measurements in urban areas.

- Air measurements in postal/distribution hubs.

- MDMA bulk detection at checkpoints.

We agreed that use cases should drive the requirements, not the other way around.

6. Detection Accuracy

Jos explained that the Dutch Police had already provided feedback on detection requirements:

- High sensitivity,

- Low detection limit, and

- High selectivity to distinguish synthetic drugs and precursors without false positives.

Leonie raised an important point: too much sensitivity can become counterproductive, detecting irrelevant trace amounts (e.g. residual cocaine on banknotes or reused containers).
She emphasized the need to define practical detection thresholds — distinguishing significant signals from background noise or “old positives.”

7. AI Assistance and Explainability

We discussed the two main interpretations of AI support:

- Analytical/operational AI – e.g., pattern detection, trend analysis, or air dispersion modeling to locate emission sources.

- Legal/forensic AI – models whose outputs might be used as part of evidence.

Jos stressed that AI models must be validated if their output is to be admissible in court.
Leonie noted that in a previous project (RITHMS), the Public Prosecutor’s Office reacted negatively when involved too late.
She recommended early engagement of prosecutors or legal experts to avoid similar issues and ensure the tools are legally acceptable.

We discussed briefly the need for data contextualization (e.g., linking geolocated readings to company or environmental data), and Willem-Jan raised potential GDPR implications.
It was agreed that for law enforcement, the system should currently be seen as a supportive tool providing indications, not yet legal proof.

8. User Interaction and Feedback

Jos described how current detection devices (e.g., TruNarc, First Defender, MX908) provide:

- Binary results (hit / no hit),

- Substance identification,

- Confidence level (%).

This simple and clear interface is preferred by field officers who are not chemical experts.
We agreed that PENTION should follow a similar user-feedback model: clear binary results with confidence values and optional detailed information.

We also discussed external certification of devices (e.g., equivalent to KEMA Keurmerk) as part of future validation.

Leonie asked about PENTION’s added value compared to existing instruments.
Jos clarified that the PENTION system is designed for large-scale air sampling — e.g., full containers, palettes, or rooms — something current devices cannot do.

9. Closing Remarks

We concluded that the meeting was productive despite partial topic overlap with previous surveys.
Several additional requirements and clarifications were gathered, especially regarding portability, cost feasibility, AI validation, and detection thresholds.